## Sheet1
Annual Energy Cost Savings Worksheet
Use this 3-part calculation to determine annual energy cost savings resulting from an upgrade of one lamp or system type throughout
a facility. This annual cost savings figure may be compared with the cost of the upgrade to determine simple payback and return on
investment (ROI). NOTE: For fluorescent systems, substitute "lamp" with "system" or "fixture" so that ballast watts are included
Simply fill in the shaded cells.
1. Compute the total power (kilowatts, kW) saved by upgrading older lamps to energy saving SYLVANIA replacements
Original |  |  | Replacement |  |  |  | Watts Saved |  |  | # of Lamps |  |  | Total Watts |  |  | Total Kilowatts
Lamp Wattage |  |  | Lamp Wattage |  |  |  | per Lamp |  |  | to Replace |  |  | Saved |  |  | Saved
75 | W | - | 20 | W | = |  | 55 | W | X | 10 | lamps | = | 550 | W | /1000 = | 0.55 | kW
2. Compute the total energy (kilowatt hours, kWh) saved annually by performing this upgrade
Total Kilowatts |  |  | Hours of Use |  |  |  | Days of Use |  |  |  | Weeks of Use |  |  |  | Total kWh
Saved |  |  | per Day |  |  |  | per Week |  |  |  | per Year |  |  |  | Saved per Year
0.55 | kW | X | 24 | hrs/day |  | X | 7 | days/wk X |  |  | 52 |  | wks/yr = |  | 4804.8 | kWh/yr
3. Compute the total energy cost savings per year
Total kWh |  |  |  |  | Your Energy Cost | [5 empty] | Total Energy Cost
Saved per Year |  |  |  |  | per kWh (typically $0.10) | [5 empty] | Savings per Year
4804.8 | kWh/yr X |  |  |  | $ |  | 0.1 |  |  | = | 480.48
Simple Payback |  |  |  | = |  |  | Initial Cost of Lighting Upgrade |  |  |  |  | = | 50 | = | 0.10406 | years
[7 empty] | Total Energy Cost Savings per Year | [5 empty] | 480.48
Return on Investment |  |  |  | = |  |  | 100 |  | = |  | 100 |  |  | = | 960.96 | %
(ROI) | [6 empty] | Simple Payback |  |  |  | 0.10406